## Slide 1
YOU
SEE,
TOO
useetoo.org
Lichtblattmikroskop
Fluoreszierend Zebrafisch
4×
4×
Laser
iPhone Linse
Sammellinse
„Fernrohr“
Zylinderlinse
Spiegel
Objektiv
(Beluechtung)
Objektiv
(Detektion)
fokussieren
Filter
Kamera
Probe
Probe scannen

## Slide 2
YOU
SEE,
TOO
useetoo.org
Light sheet Microscope
Assembly
Laser
Beam Expander
Cylindrical Lens
Mirror
Illumination Objective
Sample Stage
Z-Stage
Camera + Filter
Alignment
Laser centered
Beam colimated
Light sheet focused in the center of the S-stage, in the height of the detection objective
Sample plane focused on camera
Light sheet aligned to the sample plane
10×
4×
Laser
iPhone Lens
Convex Lens
„Telescope“
Cylindrical Lens
Kinematic
Mirror
Objective
(Illumination)
Objective
(Detection)
focus
Filter
Camera
Sample
Z-stack
acquisition

## Slide 3
YOU
SEE,
TOO
useetoo.org
Smartphone Mikroskop
Spiegel
Spiegel
(leer)
Okular
10×
20×
LED
Smartphone
Kamera
oder
„Endlichoptik“-Mikroskop
Die Smartphone Kamera hat eine Linse mit kurzer Brennweite um ein Bild auf dem Kamera-Sensor zu erzeugen. Die Abbildungseigenschaften verhalten sich somit ähnlich wie das menschliche Auge.
Objekt
Objektiv
fokussieren
Make sure that the exit pupil of the eyepiece fills the field of view of the smartphone camera.
Vergrößerung

## Slide 4
YOU
SEE,
TOO
useetoo.org
Smartphone Microscope
Mirror
Mirror
(empty)
Eyepiece
10×
20×
LED array
Smartphone
Camera
or
„Finite-corrected“ microscope
The smartphone camera has a short focal length lens to create an image on the camera sensor. The imaging properties are therefore similar to those of the human eye.
Sample
Objective
Z-stage
focus
Magnification
Make sure that the exit pupil of the eyepiece fills the field of view of the smartphone camera.